Modelloversikt

220V~240V Single  Phase

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Power Output | Load (Amp) | Stainless Steel Flow Tube With Titanium Heating Elements | Titanium Flow Tube With Titanium Heating Elements | Dimension 'L' | Wiring Diagram |
| 3-kW | 13 | 8T83 | T83 | 462-mm | [View](http://www.elecro.co.uk/images/803-6.png) |
| 4.5-kW | 20 | 8T84 | T84 | 462-mm | [View](http://www.elecro.co.uk/images/803-6.png) |
| 6-kW | 27 | 8T86 | T86 | 462-mm | [View](http://www.elecro.co.uk/images/803-6.png) |
| 9-kW | 40 | 8T89 | T89 | 462-mm | [View](http://www.elecro.co.uk/images/809-a.png) |
| 12-kW | 53 | 8T8A | T8A | 462-mm | [View](http://www.elecro.co.uk/images/809-a.png) |
| 15-kW | 66 | 8T8B | T8B | 592-mm | [View](http://www.elecro.co.uk/images/80b-c.png) |
| 18-kW | 79 | 8T8C | T8C | 592-mm | [View](http://www.elecro.co.uk/images/80b-c.png) |

Versatile Single Or 3 Phase

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Power Output | Load (Amp) 1 / 3 Phase | Stainless Steel Flow Tube With Titanium Heating Elements | Titanium Flow Tube With Titanium Heating Elements | Dimension 'L' | Wiring Diagram |
| 6-kW | 27 / 9 | 8T36V | T36V | 592-mm | [View](http://www.elecro.co.uk/images/83xv.png) |
| 9-kW | 40 / 13 | 8T39V | T39V | 592.mm | [View](http://www.elecro.co.uk/images/83xv.png) |
| 12-kW | 53 / 18 | 8T3AV | T3AV | 592-mm | [View](http://www.elecro.co.uk/images/83xv.png) |

380V~440V 3 Phase

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Power Output | Load (Amp) | Stainless Steel Flow Tube With Titanium Heating Elements | Titanium Flow Tube With Titanium Heating Elements | Dimension 'L' | Wiring Diagram |
| 15-kW | 22 | 8T3B | T3B | 592-mm | [View](http://www.elecro.co.uk/images/83b-c.png) |
| 18-kW | 26 | 8T3C | T3C | 592.mm | [View](http://www.elecro.co.uk/images/83b-c.png) |
| 24-kW | 35 | 8T3D | T3D | 592-mm | [View](http://www.elecro.co.uk/images/83d.png) |

220V~230V 3 Phase

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Power Output | Load (Amp) | Stainless Steel Flow Tube With Titanium Heating Elements | Titanium Flow Tube With Titanium Heating Elements | Dimension 'L' | Wiring Diagram |
| 6-kW | 15 | 8T36-DELTA | T36-DELTA | 592-mm | [View](http://www.elecro.co.uk/images/836&9_delta.png) |
| 9-kW | 23 | 8T39-DELTA | T39-DELTA | 592-mm | [View](http://www.elecro.co.uk/images/836&9_delta.png) |
| 12-kW | 30 | 8T3A-DELTA | T3A-DELTA | 592-mm | [View](http://www.elecro.co.uk/images/83a-c_delta.png) |
| 15-kW | 38 | 8T3B-DELTA | T3B-DELTA | 592-mm | [View](http://www.elecro.co.uk/images/83a-c_delta.png) |
| 18-kW | 46 | 8T3C-DELTA | T3C-DELTA | 592-mm | [View](http://www.elecro.co.uk/images/83a-c_delta.png) |